## Sheet1
Model number | Voltage(V) | Wattage(W) | Replaces/Equiv.(MH) | Controls | Lumens(lm) | CCT(K) | CRI | Distribution | Dimension(D"-H") | Finish/Color | IP Rating | Material | Compliance | Average life based on 104F(HRS) | IES files | Order number
MPT35501-PC-P1-V | 120-277 | 35 | 150W | Photoelectric Control | 3850 | 5000 | 70 | Type V | 16.5-20.6 | Dark Bronze | 66 | Aluminium | DLC | 70000 | Download | 11721
MPT35401-PC-P1-V | 120-277 | 35 | 150W | Photoelectric Control | 3850 | 4000 | 70 | Type V | 16.5-20.6 | Dark Bronze | 66 | Aluminium | DLC | 70000 | Download | 11722
MPT35301-PC-P1-V | 120-277 | 35 | 150W | Photoelectric Control | 3465 | 3000 | 70 | Type V | 16.5-20.6 | Dark Bronze | 66 | Aluminium | DLC | 70000 | Download | 11723
MPT35501-PC-P1-III | 120-277 | 35 | 150W | Photoelectric Control | 3850 | 5000 | 70 | Type III | 16.5-20.6 | Dark Bronze | 66 | Aluminium | DLC | 70000 | Download | 11724
MPT35401-PC-P1-III | 120-277 | 35 | 150W | Photoelectric Control | 3850 | 4000 | 70 | Type III | 16.5-20.6 | Dark Bronze | 66 | Aluminium | DLC | 70000 | Download | 11725
MPT35301-PC-P1-III | 120-277 | 35 | 150W | Photoelectric Control | 3465 | 3000 | 70 | Type III | 16.5-20.6 | Dark Bronze | 66 | Aluminium | DLC | 70000 | Download | 11726
MPT50501-PC-P1-V | 120-277 | 50 | 175W | Photoelectric Control | 5500 | 5000 | 70 | Type V | 16.5-20.6 | Dark Bronze | 66 | Aluminium | DLC | 70000 | Download | 11727
MPT50401-PC-P1-V | 120-277 | 50 | 175W | Photoelectric Control | 5500 | 4000 | 70 | Type V | 16.5-20.6 | Dark Bronze | 66 | Aluminium | DLC | 70000 | Download | 11728
MPT50301-PC-P1-V | 120-277 | 50 | 175W | Photoelectric Control | 4950 | 3000 | 70 | Type V | 16.5-20.6 | Dark Bronze | 66 | Aluminium | DLC | 70000 | Download | 11729
MPT50501-PC-P1-III | 120-277 | 50 | 175W | Photoelectric Control | 5500 | 5000 | 70 | Type III | 16.5-20.6 | Dark Bronze | 66 | Aluminium | DLC | 70000 | Download | 11730
MPT50401-PC-P1-III | 120-277 | 50 | 175W | Photoelectric Control | 5500 | 4000 | 70 | Type III | 16.5-20.6 | Dark Bronze | 66 | Aluminium | DLC | 70000 | Download | 11731
MPT50301-PC-P1-III | 120-277 | 50 | 175W | Photoelectric Control | 4950 | 3000 | 70 | Type III | 16.5-20.6 | Dark Bronze | 66 | Aluminium | DLC | 70000 | Download | 11732
MPT75501-PC-P1-V | 120-277 | 75 | 250W | Photoelectric Control | 8250 | 5000 | 70 | Type V | 16.5-20.6 | Dark Bronze | 66 | Aluminium | DLC | 70000 | Download | 11733
MPT75401-PC-P1-V | 120-277 | 75 | 250W | Photoelectric Control | 8250 | 4000 | 70 | Type V | 16.5-20.6 | Dark Bronze | 66 | Aluminium | DLC | 70000 | Download | 11734
MPT75301-PC-P1-V | 120-277 | 75 | 250W | Photoelectric Control | 7425 | 3000 | 70 | Type V | 16.5-20.6 | Dark Bronze | 66 | Aluminium | DLC | 70000 | Download | 11735
MPT75501-PC-P1-III | 120-277 | 75 | 250W | Photoelectric Control | 8250 | 5000 | 70 | Type III | 16.5-20.6 | Dark Bronze | 66 | Aluminium | DLC | 70000 | Download | 11736
MPT75401-PC-P1-III | 120-277 | 75 | 250W | Photoelectric Control | 8250 | 4000 | 70 | Type III | 16.5-20.6 | Dark Bronze | 66 | Aluminium | DLC | 70000 | Download | 11737
MPT75301-PC-P1-III | 120-277 | 75 | 250W | Photoelectric Control | 7425 | 3000 | 70 | Type III | 16.5-20.6 | Dark Bronze | 66 | Aluminium | DLC | 70000 | Download | 11738
MPT100501-PC-P1-V | 120-277 | 100 | 320W | Photoelectric Control | 11000 | 5000 | 70 | Type V | 16.5-20.6 | Dark Bronze | 66 | Aluminium | DLC | 70000 | Download | 12634
MPT100401-PC-P1-V | 120-277 | 100 | 320W | Photoelectric Control | 11000 | 4000 | 70 | Type V | 16.5-20.6 | Dark Bronze | 66 | Aluminium | DLC | 70000 | Download | 12635
MPT100301-PC-P1-V | 120-277 | 100 | 320W | Photoelectric Control | 9900 | 3000 | 70 | Type V | 16.5-20.6 | Dark Bronze | 66 | Aluminium | DLC | 70000 | Download | 12636
MPT100501-PC-P1-III | 120-277 | 100 | 320W | Photoelectric Control | 11000 | 5000 | 70 | Type III | 16.5-20.6 | Dark Bronze | 66 | Aluminium | DLC | 70000 | Download | 12646
MPT100401-PC-P1-III | 120-277 | 100 | 320W | Photoelectric Control | 11000 | 4000 | 70 | Type III | 16.5-20.6 | Dark Bronze | 66 | Aluminium | DLC | 70000 | Download | 12647
MPT100301-PC-P1-III | 120-277 | 100 | 320W | Photoelectric Control | 9900 | 3000 | 70 | Type III | 16.5-20.6 | Dark Bronze | 66 | Aluminium | DLC | 70000 | Download | 12648
MPT35501-PC-P1-II | 120-277 | 35 | 150W | Photoelectric Control | 3850 | 5000 | 70 | Type II | 16.5-20.6 | Dark Bronze | 66 | Aluminium | DLC | 70000 | Download | 12994
MPT35401-PC-P1-II | 120-277 | 35 | 150W | Photoelectric Control | 3850 | 4000 | 70 | Type II | 16.5-20.6 | Dark Bronze | 66 | Aluminium | DLC | 70000 | Download | 12995
MPT35301-PC-P1-II | 120-277 | 35 | 150W | Photoelectric Control | 3465 | 3000 | 70 | Type II | 16.5-20.6 | Dark Bronze | 66 | Aluminium | DLC | 70000 | Download | 12996
MPT50501-PC-P1-II | 120-277 | 50 | 175W | Photoelectric Control | 5500 | 5000 | 70 | Type II | 16.5-20.6 | Dark Bronze | 66 | Aluminium | DLC | 70000 | Download | 13006
MPT50401-PC-P1-II | 120-277 | 50 | 175W | Photoelectric Control | 5500 | 4000 | 70 | Type II | 16.5-20.6 | Dark Bronze | 66 | Aluminium | DLC | 70000 | Download | 13007
MPT50301-PC-P1-II | 120-277 | 50 | 175W | Photoelectric Control | 4950 | 3000 | 70 | Type II | 16.5-20.6 | Dark Bronze | 66 | Aluminium | DLC | 70000 | Download | 13008
MPT75501-PC-P1-II | 120-277 | 75 | 250W | Photoelectric Control | 8250 | 5000 | 70 | Type II | 16.5-20.6 | Dark Bronze | 66 | Aluminium | DLC | 70000 | Download | 13018
MPT75401-PC-P1-II | 120-277 | 75 | 250W | Photoelectric Control | 8250 | 4000 | 70 | Type II | 16.5-20.6 | Dark Bronze | 66 | Aluminium | DLC | 70000 | Download | 13019
MPT75301-PC-P1-II | 120-277 | 75 | 250W | Photoelectric Control | 7425 | 3000 | 70 | Type II | 16.5-20.6 | Dark Bronze | 66 | Aluminium | DLC | 70000 | Download | 13020
MPT100501-PC-P1-II | 120-277 | 100 | 320W | Photoelectric Control | 11000 | 5000 | 70 | Type II | 16.5-20.6 | Dark Bronze | 66 | Aluminium | DLC | 70000 | Download | 13030
MPT100401-PC-P1-II | 120-277 | 100 | 320W | Photoelectric Control | 11000 | 4000 | 70 | Type II | 16.5-20.6 | Dark Bronze | 66 | Aluminium | DLC | 70000 | Download | 13031
MPT100301-PC-P1-II | 120-277 | 100 | 320W | Photoelectric Control | 9900 | 3000 | 70 | Type II | 16.5-20.6 | Dark Bronze | 66 | Aluminium | DLC | 70000 | Download | 13032
MPT135501-PC-P1-V | 120-277 | 100 | 400W | Photoelectric Control | 14870 | 5000 | 70 | Type V | 16.5-20.6 | Dark Bronze | 66 | Aluminium | DLC | 70000 | Download | 14532
MPT135401-PC-P1-V | 120-277 | 100 | 400W | Photoelectric Control | 14870 | 4000 | 70 | Type V | 16.5-20.6 | Dark Bronze | 66 | Aluminium | DLC | 70000 | Download | 14533
MPT135301-PC-P1-V | 120-277 | 100 | 400W | Photoelectric Control | 13680 | 3000 | 70 | Type V | 16.5-20.6 | Dark Bronze | 66 | Aluminium | DLC | 70000 | Download | 14534