## Sheet1
Model number | Voltage(V) | Wattage(W) | Replaces/Equiv.(MH) | Controls | Lumens(lm) | CCT(K) | CRI | Distribution | Dimension W/O mounting bracket(L"-W"-H") | Finish/Color | IP Rating | Material | Compliance | Average life based on 104F(HRS) | IES Files | Order number
MAX450401-AAR-T2-BK | 120-277 | 450 | 1500W | Available | 70500 | 4000 | 70 | II | 24.49"x26.77"x4.41" | Black | 65 | Aluminum | UL | 50000 |  | 16442
MAX450401-AAR-T3-BK | 120-277 | 450 | 1500W | Available | 70500 | 4000 | 70 | III | 24.49"x26.77"x4.41" | Black | 65 | Aluminum | UL | 50000 |  | 16443
MAX450401-AAR-T4-BK | 120-277 | 450 | 1500W | Available | 70500 | 4000 | 70 | IV | 24.49"x26.77"x4.41" | Black | 65 | Aluminum | UL | 50000 |  | 16444
MAX450401-AAR-T5W-BK | 120-277 | 450 | 1500W | Available | 70500 | 4000 | 70 | 120° | 24.49"x26.77"x4.41" | Black | 65 | Aluminum | UL | 50000 |  | 16445
MAX450401-AAR-T5M-BK | 120-277 | 450 | 1500W | Available | 70500 | 4000 | 70 | 90° | 24.49"x26.77"x4.41" | Black | 65 | Aluminum | UL | 50000 |  | 16446
MAX450401-AAR-T5S-BK | 120-277 | 450 | 1500W | Available | 70500 | 4000 | 70 | 60° | 24.49"x26.77"x4.41" | Black | 65 | Aluminum | UL | 50000 |  | 16447
MAX450401-AAR-T5XS-BK | 120-277 | 450 | 1500W | Available | 70500 | 4000 | 70 | 40° | 24.49"x26.77"x4.41" | Black | 65 | Aluminum | UL | 50000 |  | 16448
MAX450401-AAR-T5XXS-BK | 120-277 | 450 | 1500W | Available | 70500 | 4000 | 70 | 25° | 24.49"x26.77"x4.41" | Black | 65 | Aluminum | UL | 50000 |  | 16449
MAX450401-AAR-BS-BK | 120-277 | 450 | 1500W | Available | 70500 | 4000 | 70 | back shield | 24.49"x26.77"x4.41" | Black | 65 | Aluminum | UL | 50000 |  | 16450
MAX600401-AAR-T2-BK | 120-277 | 600 | 2400W | Available | 92730 | 4000 | 70 | II | 29.21"x26.77"x4.41" | Black | 65 | Aluminum | UL | 50000 |  | 16451
MAX600401-AAR-T3-BK | 120-277 | 600 | 2400W | Available | 92730 | 4000 | 70 | III | 29.21"x26.77"x4.41" | Black | 65 | Aluminum | UL | 50000 |  | 16452
MAX600401-AAR-T4-BK | 120-277 | 600 | 2400W | Available | 92730 | 4000 | 70 | IV | 29.21"x26.77"x4.41" | Black | 65 | Aluminum | UL | 50000 |  | 16453
MAX600401-AAR-T5W-BK | 120-277 | 600 | 2400W | Available | 92730 | 4000 | 70 | 120° | 29.21"x26.77"x4.41" | Black | 65 | Aluminum | UL | 50000 |  | 16454
MAX600401-AAR-T5M-BK | 120-277 | 600 | 2400W | Available | 92730 | 4000 | 70 | 90° | 29.21"x26.77"x4.41" | Black | 65 | Aluminum | UL | 50000 |  | 16455
MAX600401-AAR-T5S-BK | 120-277 | 600 | 2400W | Available | 92730 | 4000 | 70 | 60° | 29.21"x26.77"x4.41" | Black | 65 | Aluminum | UL | 50000 |  | 16456
MAX600401-AAR-T5XS-BK | 120-277 | 600 | 2400W | Available | 92730 | 4000 | 70 | 40° | 29.21"x26.77"x4.41" | Black | 65 | Aluminum | UL | 50000 |  | 16457
MAX600401-AAR-T5XXS-BK | 120-277 | 600 | 2400W | Available | 92730 | 4000 | 70 | 25° | 29.21"x26.77"x4.41" | Black | 65 | Aluminum | UL | 50000 |  | 16458
MAX600401-AAR-BS-BK | 120-277 | 600 | 2400W | Available | 92730 | 4000 | 70 | back shield | 29.21"x26.77"x4.41" | Black | 65 | Aluminum | UL | 50000 |  | 16459
MAX750401-AAR-T2-BK | 120-277 | 750 | 3000W | Available | 115600 | 4000 | 70 | II | 36.30"x26.77"x4.41" | Black | 65 | Aluminum | UL | 50000 |  | 16460
MAX750401-AAR-T3-BK | 120-277 | 750 | 3000W | Available | 115600 | 4000 | 70 | III | 36.30"x26.77"x4.41" | Black | 65 | Aluminum | UL | 50000 |  | 16461
MAX750401-AAR-T4-BK | 120-277 | 750 | 3000W | Available | 115600 | 4000 | 70 | IV | 36.30"x26.77"x4.41" | Black | 65 | Aluminum | UL | 50000 |  | 16462
MAX750401-AAR-T5W-BK | 120-277 | 750 | 3000W | Available | 115600 | 4000 | 70 | 120° | 36.30"x26.77"x4.41" | Black | 65 | Aluminum | UL | 50000 |  | 16463
MAX750401-AAR-T5M-BK | 120-277 | 750 | 3000W | Available | 115600 | 4000 | 70 | 90° | 36.30"x26.77"x4.41" | Black | 65 | Aluminum | UL | 50000 |  | 16464
MAX750401-AAR-T5S-BK | 120-277 | 750 | 3000W | Available | 115600 | 4000 | 70 | 60° | 36.30"x26.77"x4.41" | Black | 65 | Aluminum | UL | 50000 |  | 16465
MAX750401-AAR-T5XS-BK | 120-277 | 750 | 3000W | Available | 115600 | 4000 | 70 | 40° | 36.30"x26.77"x4.41" | Black | 65 | Aluminum | UL | 50000 |  | 16466
MAX750401-AAR-T5XXS-BK | 120-277 | 750 | 3000W | Available | 115600 | 4000 | 70 | 25° | 36.30"x26.77"x4.41" | Black | 65 | Aluminum | UL | 50000 |  | 16467
MAX750401-AAR-BS-BK | 120-277 | 750 | 3000W | Available | 115600 | 4000 | 70 | back shield | 36.30"x26.77"x4.41" | Black | 65 | Aluminum | UL | 50000 |  | 16468
MAX900401-AAR-T2-BK | 120-277 | 900 | 3500W | Available | 138000 | 4000 | 70 | II | 41.02"x26.77"x4.41" | Black | 65 | Aluminum | UL | 50000 |  | 16469
MAX900401-AAR-T3-BK | 120-277 | 900 | 3500W | Available | 138000 | 4000 | 70 | III | 41.02"x26.77"x4.41" | Black | 65 | Aluminum | UL | 50000 |  | 16470
MAX900401-AAR-T4-BK | 120-277 | 900 | 3500W | Available | 138000 | 4000 | 70 | IV | 41.02"x26.77"x4.41" | Black | 65 | Aluminum | UL | 50000 |  | 16471
MAX900401-AAR-T5W-BK | 120-277 | 900 | 3500W | Available | 138000 | 4000 | 70 | 120° | 41.02"x26.77"x4.41" | Black | 65 | Aluminum | UL | 50000 |  | 16472
MAX900401-AAR-T5M-BK | 120-277 | 900 | 3500W | Available | 138000 | 4000 | 70 | 90° | 41.02"x26.77"x4.41" | Black | 65 | Aluminum | UL | 50000 |  | 16473
MAX900401-AAR-T5S-BK | 120-277 | 900 | 3500W | Available | 138000 | 4000 | 70 | 60° | 41.02"x26.77"x4.41" | Black | 65 | Aluminum | UL | 50000 |  | 16474
MAX900401-AAR-T5XS-BK | 120-277 | 900 | 3500W | Available | 138000 | 4000 | 70 | 40° | 41.02"x26.77"x4.41" | Black | 65 | Aluminum | UL | 50000 |  | 16475
MAX900401-AAR-T5XXS-BK | 120-277 | 900 | 3500W | Available | 138000 | 4000 | 70 | 25° | 41.02"x26.77"x4.41" | Black | 65 | Aluminum | UL | 50000 |  | 16476
MAX900401-AAR-BS-BK | 120-277 | 900 | 3500W | Available | 138000 | 4000 | 70 | back shield | 41.02"x26.77"x4.41" | Black | 65 | Aluminum | UL | 50000 |  | 16477