## Normal
Model number | Voltage(V) | Wattage (W) | Replaces/Equiv.(FL) | Dimming/Control | Lumens(lm) | CCT(K) | CRI | Distribution | Dimension(L"-W"-H") | Finish/Color | IP Rating | Material | Compliance | Average life based on 104F(HRS) | IES files | Order number
POR02-DLR-06LM-90-MBK | / | 8 | 50W incandescent | / | 600 | 2700/3000/3500/4000/5000 | 90 | 38 degree | Ø3 1/8"- 5" | White | Damp Location | Alumilum | ETL | 50000 |  | 90787A
POR02-DLR-06LM-90-MWH | / | 8 | 50W incandescent | / | 600 | 2700/3000/3500/4000/5000 | 90 | 38 degree | Ø3 1/8"- 5" | White | Damp Location | Alumilum | ETL | 50000 |  | 90826A
POR02-DLR-10LM-90-MBK | / | 12 | 75W incandescent | / | 1000 | 2700/3000/3500/4000/5000 | 90 | 38 degree | 3 1/8"-3 1/8"-5" | White | Damp Location | Alumilum | ETL | 50000 |  | 90788A
POR02-DLR-10LM-90-MWH | / | 12 | 75W incandescent | / | 1000 | 2700/3000/3500/4000/5000 | 90 | 38 degree | 3 1/8"-3 1/8"-5" | White | Damp Location | Alumilum | ETL | 50000 |  | 90830A
POR02-DLS-06LM-90-MBK | / | 8 | 50W incandescent | / | 600 | 2700/3000/3500/4000/5000 | 90 | 38 degree | Ø3 1/8"- 5" | White | Damp Location | Alumilum | ETL | 50000 |  | 90828A
POR02-DLS-06LM-90-MWH | / | 8 | 50W incandescent | / | 600 | 2700/3000/3500/4000/5000 | 90 | 38 degree | Ø3 1/8"- 5" | White | Damp Location | Alumilum | ETL | 50000 |  | 90829A
POR02-DLS-10LM-90-MBK | / | 12 | 75W incandescent | / | 1000 | 2700/3000/3500/4000/5000 | 90 | 38 degree | 3 1/8"-3 1/8"-5" | White | Damp Location | Alumilum | ETL | 50000 |  | 90832A
POR02-DLS-10LM-90-MWH | / | 12 | 75W incandescent | / | 1000 | 2700/3000/3500/4000/5000 | 90 | 38 degree | 3 1/8"-3 1/8"-5" | White | Damp Location | Alumilum | ETL | 50000 |  | 90833A
POR02-08W-4 | 120 | 8 | / | Triac dimming | / | / | / | / | / | / | Damp Location | Alumilum | ETL | 50000 |  | 90816A
POR02-DL/ADJ-08W-1 | 120-277 | 8 | / | 0-10V dimming | / | / | / | / | / | / | Damp Location | Alumilum | ETL | 50000 |  | 91142A
POR02-12W-4 | 120 | 12 | / | Triac dimming | / | / | / | / | / | / | Damp Location | Alumilum | ETL | 50000 |  | 90781A
POR02-12W-1 | 120-277 | 12 | / | 0-10V dimming | / | / | / | / | / | / | Damp Location | Alumilum | ETL | 50000 |  | 90793A