## Normal
Model number | Voltage(V) | Wattage (W) | Replaces/Equiv.(FL) | Dimming/Control | Lumens(lm) | CCT(K) | CRI | Distribution | Dimension(L"-W"-H") | Finish/Color | IP Rating | Material | Compliance | Average life based on 104F(HRS) | IES files | Order number
POR04-DLR-15LM-90-MBK | / | 18 | 75W incandescent | / | 1500 | 2700/3000/3500/4000/5000 | 90 | 38 degree | Ø4 1/2"- 4 3/4" | White | Damp Location | Alumilum | ETL | 50000 |  | 90813
POR04-DLR-15LM-90-MWH | / | 18 | 75W incandescent | / | 1500 | 2700/3000/3500/4000/5000 | 90 | 38 degree | Ø4 1/2"- 4 3/4" | White | Damp Location | Alumilum | ETL | 50000 |  | 90842
POR04-DLS-15LM-90-MBK | / | 18 | 75W incandescent | / | 1500 | 2700/3000/3500/4000/5000 | 90 | 38 degree | Ø4 1/2"- 4 3/4" | White | Damp Location | Alumilum | ETL | 50000 |  | 90843
POR04-DLS-15LM-90-MWH | / | 18 | 75W incandescent | / | 1500 | 2700/3000/3500/4000/5000 | 90 | 38 degree | Ø4 1/2"- 4 3/4" | White | Damp Location | Alumilum | ETL | 50000 |  | 90844
POR04-DLR-20LM-90-MBK | / | 25 | 100W HID | / | 2000 | 2700/3000/3500/4000/5000 | 90 | 38 degree | Ø4 1/2"- 4 3/4" | White | Damp Location | Alumilum | ETL | 50000 |  | 90814
POR04-DLR-20LM-90-MWH | / | 25 | 100W HID | / | 2000 | 2700/3000/3500/4000/5000 | 90 | 38 degree | Ø4 1/2"- 4 3/4" | White | Damp Location | Alumilum | ETL | 50000 |  | 90845
POR04-DLS-20LM-90-MBK | / | 25 | 100W HID | / | 2000 | 2700/3000/3500/4000/5000 | 90 | 38 degree | Ø4 1/2"- 4 3/4" | White | Damp Location | Alumilum | ETL | 50000 |  | 90846
POR04-DLS-20LM-90-MWH | / | 25 | 100W HID | / | 2000 | 2700/3000/3500/4000/5000 | 90 | 38 degree | Ø4 1/2"- 4 3/4" | White | Damp Location | Alumilum | ETL | 50000 |  | 90847
POR04-18W-4 | 120 | 18 | / | Triac dimming | / | / | / | / | / | / | Damp Location | Alumilum | ETL | 50000 |  | 90783
POR04-18W-1 | 120-277 | 18 | / | 0-10V dimming | / | / | / | / | / | / | Damp Location | Alumilum | ETL | 50000 |  | 90822
POR04-25W-4 | 120 | 25 | / | Triac dimming | / | / | / | / | / | / | Damp Location | Alumilum | ETL | 50000 |  | 90820
POR04-25W-1 | 120-277 | 25 | / | 0-10V dimming | / | / | / | / | / | / | Damp Location | Alumilum | ETL | 50000 |  | 90823