## Normal
Model number | Voltage(V) | Wattage (W) | Replaces/Equiv.(FL) | Dimming/Control | Lumens(lm) | CCT(K) | CRI | Distribution | Dimension(L"-W"-H") | Finish/Color | IP Rating | Material | Compliance | Average life based on 104F(HRS) | IES files | Order number
POR04-DLR-06LM-90-MBK | / | 8 | 50W incandescent | / | 600 | 2700/3000/3500/4000/5000 | 90 | 38 degree | Ø4 1/2"- 3 3/8" | White | Damp Location | Alumilum | ETL | 50000 |  | 90790
POR04-DLR-06LM-90-MWH | / | 8 | 50W incandescent | / | 600 | 2700/3000/3500/4000/5000 | 90 | 38 degree | Ø4 1/2"- 3 3/8" | White | Damp Location | Alumilum | ETL | 50000 |  | 90834
POR04-ADJ-R-06LM-90-MBK | / | 8 | 50W incandescent | / | 600 | 2700/3000/3500/4000/5000 | 90 | 38 degree | Ø4 3/8"- 3 3/8" | White | Damp Location | Alumilum | ETL | 50000 |  | 90815
POR04-ADJ-R-06LM-90-MWH | / | 8 | 50W incandescent | / | 600 | 2700/3000/3500/4000/5000 | 90 | 38 degree | Ø4 3/8"- 3 3/8" | White | Damp Location | Alumilum | ETL | 50000 |  | 90835
POR04-DLS-06LM-90-MBK | / | 8 | 50W incandescent | / | 600 | 2700/3000/3500/4000/5000 | 90 | 38 degree | Ø4 1/2"- 3 3/8" | White | Damp Location | Alumilum | ETL | 50000 |  | 90836
POR04-DLS-06LM-90-MWH | / | 8 | 50W incandescent | / | 600 | 2700/3000/3500/4000/5000 | 90 | 38 degree | Ø4 1/2"- 3 3/8" | White | Damp Location | Alumilum | ETL | 50000 |  | 90837
POR04-DLR-10LM-90-MBK | / | 12 | 75W incandescent | / | 1000 | 2700/3000/3500/4000/5000 | 90 | 38 degree | Ø4 1/2"- 3 3/8" | White | Damp Location | Alumilum | ETL | 50000 |  | 90791
POR04-DLR-10LM-90-MWH | / | 12 | 75W incandescent | / | 1000 | 2700/3000/3500/4000/5000 | 90 | 38 degree | Ø4 1/2"- 3 3/8" | White | Damp Location | Alumilum | ETL | 50000 |  | 90838
POR04-ADJ-R-10LM-90-MBK | / | 12 | 75W incandescent | / | 1000 | 2700/3000/3500/4000/5000 | 90 | 38 degree | Ø4 3/8"- 3 3/8" | White | Damp Location | Alumilum | ETL | 50000 |  | 90792
POR04-ADJ-R-10LM-90-MWH | / | 12 | 75W incandescent | / | 1000 | 2700/3000/3500/4000/5000 | 90 | 38 degree | Ø4 3/8"- 3 3/8" | White | Damp Location | Alumilum | ETL | 50000 |  | 90839
POR04-DLS-10LM-90-MBK | / | 12 | 75W incandescent | / | 1000 | 2700/3000/3500/4000/5000 | 90 | 38 degree | Ø4 1/2"- 3 3/8" | White | Damp Location | Alumilum | ETL | 50000 |  | 90840
POR04-DLS-10LM-90-MWH | / | 12 | 75W incandescent | / | 1000 | 2700/3000/3500/4000/5000 | 90 | 38 degree | Ø4 1/2"- 3 3/8" | White | Damp Location | Alumilum | ETL | 50000 |  | 90841
POR04-08W-4 | 120 | 8 | / | Triac dimming | / | / | / | / | / | / | Damp Location | Alumilum | ETL | 50000 |  | 90818
POR04-08W-1 | 120-277 | 8 | / | 0-10V dimming | / | / | / | / | / | / | Damp Location | Alumilum | ETL | 50000 |  | 90821
POR04-12W-4 | 120 | 12 | / | Triac dimming | / | / | / | / | / | / | Damp Location | Alumilum | ETL | 50000 |  | 90819
POR04-12W-1 | 120-277 | 12 | / | 0-10V dimming | / | / | / | / | / | / | Damp Location | Alumilum | ETL | 50000 |  | 90794